WATER SAVING TIPS

Monitor your usage

If you are a metered customer keep a regular log of the water going through your meter. This will help you keep an eye on your usage and help you notice any leaks. If your business consumes un-metered water supplies of any description then consider installing appropriate meters so you can record and monitor usage.

Check your bills

Make sure you are getting the correct allowances, your usage is correct and contact NI Water with any queries.

Regularly check your pipes and fittings

Check for leaks and ensure your pipes are well insulated against frost. It is worth remembering that any leakage from private pipes will be billed.

Educate staff

Speak to staff about implementing water efficiency measures and appoint a member of staff to monitor water usage.

Small changes can make a big difference

Switch off taps and hoses when not in use - a dripping tap can waste up to 30 litres a day.

Know where your supply pipes and shut-off valves are

Shut off water to unused areas of your premises to stop waste from leaks or unmonitored usage.

Use water saving devices

Older toilet cisterns can use as much as nine litres of water per flush. Installing a water displacement device in the cistern can reduce this by as much as a third. A water displacement device simply takes up space in your cistern, these include “Hippo bags” or “Save a Flush bags”. Hippo bags are available free of charge from NI Water’s education department. Please note dual flush, slim line and cisterns using less than six litres of water do not require a device.

Consider installing more water efficient equipment

- Efficient taps - automatic shut-off taps, electronic taps, low-flow screw-down/ lever taps and spray taps;

- Efficient toilets - low-flush toilets, retrofit WC flushing devices and urinal controls;

- Sub-metering – to monitor usage for different parts of your premises;

- Water efficient industrial cleaning equipment - i.e. scrubber/driers (walk behind and ride on machines) and steam cleaners.

The Enhanced Capital Allowance (ECA) scheme offers a 100 per cent first year allowance for investments in certain water efficient plant and machinery. To qualify, the plant and machinery must be on the Water Technology List (WTL) at the time of purchase which is compiled by the Department for Environment, Food and Rural Affairs (DEFRA). You can check the WTL on DEFRA’s website.

Source: www.consumercouncil.org.uk/business-support/water-issues/

“Every Drop Counts – Business”